## BioAssay Performance and OOS
BioAssay Performance, Acceptance Criteria and OOS |  |  | Assay Name: | USP
Target | 1 |  | Bias Error % of Tolerance | Repeatability as % of Tolerance | Intermediate Precision as % of Tolerance | BioAssay Performance
USL | 1.41 | Assay Risk Factor |  |  |  | OOS % | OOS PPM | Yield
LSL | 0.71 | 99% | 7.571% | 46.2% | 69.92% | 0.02385% | 238.4626 | 99.98%
Assay Bias Error at 100% Concentration (+-) | 0.053 | 5.1517 | Target <=20% | Target <=60% | Target <=75% | Target <0.27% | Target <2700 | Target >99.73%
Assay Repeatability (1 stdev) at 100% | 0.06277 |  | Ok | Ok | Ok
Assay Intermediate Precision (1 Stdev) at 100% | 0.095 | 0.995 |  |  |  |  | Cpm
Product Variation Stdev (without assay) | 0 |  |  |  |  | Assay Only | 1.2035 | Target => 1.33
Total Potency Variation (1 stdev) | 0.095 |  |  |  |  | Product | 1.2035 | Target => 1.0
Assay Mean | 1.053
Rev. 11/15/2016
© 2016 BioAssay Sciences a Division of Thomas A. Little Consulting

## Sample Size for Reference Qual
Sample Size Calculator for a Reference Qualification |  |  | Assay: | USP
rev 11/15/2016
Alpha Error | 0.05 | Probability of not having the reference mean included in the confidence interval | [5 empty] | 1.96 | 2.2622 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201
Confidence Interval | 95% | Probability of the reference mean being located within the confidence interval
Assay Repeatability or Intermediate Precision @ 100% | 0.095 | Baseline assay standard deviation (repeatability or intermediate precision) at 100% concentration | [5 empty] | 1.2816 | 1.383 | 1.3634 | 1.3634 | 1.3634 | 1.3634 | 1.3634 | 1.3634 | 1.3634 | 1.3634 | 1.3634 | 1.3634 | 1.3634 | 1.3634 | 1.3634 | 1.3634 | 1.3634 | 1.3634 | 1.3634 | 1.3634 | 1.3634 | 1.3634 | 1.3634 | 1.3634 | 1.3634 | 1.3634 | 1.3634 | 1.3634 | 1.3634 | 1.3634 | 1.3634 | 1.3634 | 1.3634 | 1.3634 | 1.3634 | 1.3634 | 1.3634
Beta Error | 0.1 | Probability of not being able to detect delta (mean shift change) in the reference
Power | 90% | Probability of correctly detecting delta (a change) in the reference
Delta (accuracy of the mean potency of the reference) | 0.1 | Accuracy with which the mean reference potency may be estimated (practical difference of interest), normally this value is <15%-20% of Tolerance
D ratio (Delta/Sigma) | 1.0526 | % of Tolerance | 14.29% |  |  |  |  | 9.4829 | 11.9919 | 11.4663 | 11.4663 | 11.4663 | 11.4663 | 11.4663 | 11.4663 | 11.4663 | 11.4663 | 11.4663 | 11.4663 | 11.4663 | 11.4663 | 11.4663 | 11.4663 | 11.4663 | 11.4663 | 11.4663 | 11.4663 | 11.4663 | 11.4663 | 11.4663 | 11.4663 | 11.4663 | 11.4663 | 11.4663 | 11.4663 | 11.4663 | 11.4663 | 11.4663 | 11.4663 | 11.4663 | 11.4663 | 11.4663 | 11.4663 | 11.4663 | 11.4663
One or two sided test (1,2) | 2 | If deviation in either direction is of interest use 2 and if deviation in only one direction is of interest specify 1.
Number of Determinations | 12 | Compare results with SAS/JMP 12.2, based on NIST Standard for sample size |  |  |  |  | df | 9 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11
for new reference standard evaluation
Confidence Interval for the New Reference Based on Sample Size
USL | 1.41 |  |  | CF Reference New |  | Notes and Rationale
Target | 1 |  |  | Relative Potency (New ED50/Old ED50) x 100 Mean | 1.08 | Evaluation of potency of new reference to old reference
LSL | 0.71 |  |  | Relative Potency Stdev new standard | 0.12 | Stdev of n repeated measurements under same conditions
Baseline Assay Intermediate Precision | 0.095 |  |  | Number of Determinations | 12 | from the sample size calculator
Number of Determinations for new Standard | 12 |  |  | Correction Factor Reference Old | 0.05 | Add to the new CF to make sure the correction is not lost in the new standard (either positive or negative)
|  |  |  | Correction Factor Reference Old Stability | -0.05 | Add due to the increase in potency from the degraded reference (always negative)
|  |  |  | New Correction Factor (CF) Reference | 0.08 | Final correction factor for potency determination
|  |  |  | New CF Reference Standard Error | 0.034641
|  |  |  | Lower 95% Confidence Limit Reference CF | 0.012104
|  |  |  | Upper 95% Confidence Limit Reference CF | 0.1479
|  |  |  | New Reference Confidence Interval as % of Tolerance | 19.399 | New Reference Confidence Interval Should be <= 20% of Tolerance
© 2016 BioAssay Sciences a Division of Thomas A. Little Consulting
Sample Size Reference
www.itl.nist.gov/div898/handbook/prc/section2/prc222.htm
www.bioassaysciences.com